Clinical Services Contract Crib Sheet

August 8, 2011 through August 22, 2011

Our contract crib sheets are a checklist of recent clinical contract announcements from Premier.  For more detail and archived Crib Sheets go to www.gnyhaservices.com or refer to Supply Chain Advisor at www.premierinc.com.

Surgical Services Alert – announcement that Stryker Orthopaedics and Corin PLC will resume direct distribution for the Cormet Hip Resurfacing system to US customers, (PP-OR-443).

Surgical Services Alert  – announcement that a number of Stryker products that have been available on the ENT agreement (PP-OR-697) with Stryker will now be available through the new Stryker neurosurgical products agreement, PP-OR-761, which becomes effective September 1, 2011. The deletion of these products from the ENT agreement coincides with the effective date of the new neurosurgical products agreements. The pricing and tier structure for these products remains the same.

Surgical Services RECALL – Covidien (PP-OR-341) has initiated a voluntary medical device recall on various production lots of Duet TRS Universal Straight and Articulating Single Use Loading Unit. This action is due to the potential for the sterility and moisture barriers to be compromised. Contact your Client Services Executive for details and required action.

Surgical Services RECALL – Ethicon Endo-Surgical (PP-OR-343) has issued a voluntary recall of specific lots of ENDOPATH ETS Compact Flex 45mm Articulating Linear Cutters.

If you have affected lot numbers you should cease using all products with the affected lot numbers and associated product codes, which includes item numbers CTS45, CTS45NK, SCW45, SCG45, 6CB45 and SCB45. This recall has been initiated by Ethicon Endo-Surgery due the possibility of damage to the blister pack that may have compromised the sterility of specific lots of the device.

This recall is being conducted with the knowledge of the U.S. Food and Drug Administration. Customers who have been shipped product from any of the affected lots have been notified of this recall.

Suggested actions:

- Stop using affected product immediately.

- Quarantine and remove all stock on hand.

- Arrange for product returns.

- Complete and return the “Business Reply Form” as required by the FDA.

Imaging – announcement that agreements for Conventional Film, Dry Media and Printers have been awarded to incumbents Afga Healthcare Corporation and FUJIFILM Medical Systems, U.S.A. Inc.

| Supplier | New contract | Expiring contract |
| --- | --- | --- |
| Agfa HealthCare | PP-IM-159 | PP-IM-118 |
| FUJIFILM Medical | PP-IM-160 | PP-IM-117 |

Agfa’s agreement is effective September 1, 2011, through August 31, 2014.  FUJIFILM’s agreement is effective September 1, 2011, through August 31, 2012. FUJIFILM’s agreement is for one year with the option of two one-year extensions.

Nursing  Contract Termination – Digitcare Corporation has terminated their Exam Glove agreement, PP-NS-596, effective October 3, 2011.  Termination is due to mid-cycle price changes.

Surgical Services – announcement of new agreements for Liquid Medical Waste Management Systems. Category offers both canister and cart-based systems with products including disposable canisters, smoke evacuators, docking stations, reusable collectors, wall mounted units, and disinfectant and enzymatic cleaners.

Effective November 1, 2011 through October 31, 2014

| Supplier | New contract number | Expiring contract number |
| --- | --- | --- |
| DeRoyal | PP-OR-768 | PP-OR-489 |
| Dornoch | PP-OR-769 | New |
| Stryker | PP-OR-770 | PP-OR-488 |

Nursing – announcement of new agreements in Dialysis Products and Accessories. This product category assists patients whose kidneys are not able to perform normal duties. Subcategories include:

| Dialysis consumable products Dialysis capital equipment Dialysis access catheters | Hemodialysis machines Peritoneal dialysis (PD) products Continuous renal replacement therapy (CRRT) |
| --- | --- |

Effective November 1, 2011 through October 31, 2014

| Supplier | New contract | Expiring contract |
| --- | --- | --- |
| AngioDynamics | PP-NS-692 | New |
| B. Braun | PP-NS-693 | PP-NS-532 |
| Covidien | PP-NS-690 | PP-NS-531 |
| Hemosphere | PP-NS-694 | New |
| Medical Components | PP-NS-691 | PP-NS-533 |

Nursing  SEEDS Launch – announcement that a new SEEDS supplier, Solutions Matrix Inc., has been added to the Hot and Cold Packs category.

Laboratory – announcement of a new category agreement for Specialty Distribution – Research.  This category includes items that are used in the laboratory research setting and accompanying education and services.

| Supplier | New Contract | Previous Contract |
| --- | --- | --- |
| VWR International. LLC, | RS-LA-001 | New |

# Agreement Highlights:

- Price activation (PA) or a Participating Member Designation Form (PMDF) is required for all tiers.

- Aggregation is allowed.

- Local negotiation is available.

- VWR International, LLC list-less percentage is firm for the term of the agreement.

- Discounts are based on member tier volume. For details, refer to pricing exhibit A-1, in Supply Chain Advisor®

- The Agreement is available to acute and continuum of care members.

- Value-Add programs and additional services are included in this agreement. See Exhibit G - Value Adds, in Supply Chain Advisor

Continuum of Care – announcement of a new agreement for Adult and Pediatric Exam Table Paper and Related Products. This category covers paper products used in medical offices to protect exam tables and the patient. Note: Premier reserves the right to add additional suppliers to this category during this contract term.

Effective July 1, 2011 through June 30, 2011

| Supplier | New Contract | Expiring Contract |
| --- | --- | --- |
| Avalon Papers LLC (SBE) | PP-AC-045 | New |

Cardiology – announcement of new agreements for Intra-Aortic Balloon Catheters and Pumps.

Intra-aortic balloon catheters and pumps (IABP) are circulatory assist devices placed inside the heart to reduce how hard the heart needs to work. The device inflates a small balloon right after the heart pumps and deflates it just before the heart beats again. It can reduce the heart’s workload by up to 30 percent.

Effective November 1, 2011 through October 31, 2014

| Supplier | New Contract | Expiring Contract |
| --- | --- | --- |
| Arrow | PP-CA-193 | PP-CA-127 |
| Maquet | PP-CA-192 | PP-CA-126 (DataScope)* |
| * Datascope was acquired by Maquet Cardiovascular in 2008 after the launch of the current agreement. |

Surgical Services – announcement that Cardinal Health (PP-OR-627) has added a new synthetic surgical glove to their product line: Duraprene™ Plus Sterile Neoprene Powder-Free Surgical Gloves with Nitrile Coating. The new product is designed to replace two existing products, the Duraprene SMT and Duraprene surgical gloves. As a result, these two products will be discontinued and no longer available for purchase as of September 30, 2011.

| NEW |  | Discontinued (effective September 30, 2011) |
| --- | --- | --- |
| Duraprene Plus |  | Duraprene SMT |  | Duraprene |
| Size | Catalog No. |  | Size | Catalog No. |  | Size | Catalog No. |
| 5½ | 2D73DP55 |  | 5½ | 2D72PN55 |  | 5½ | 2D72A0I |
| 6 | 2D73DP60 |  | 6 | 2D72PN60 |  | 6 | 2D72A1I |
| 6½ | 2D73DP65 |  | 6½ | 2D72PN65 |  | 6½ | 2D72A2I |
| 7 | 2D73DP70 |  | 7 | 2D72PN70 |  | 7 | 2D72A3I |
| 7½ | 2D73DP75 |  | 7½ | 2D72PN75 |  | 7½ | 2D72A4I |
| 8 | 2D73DP80 |  | 8 | 2D72PN80 |  | 8 | 2D72A5I |
| 8½ | 2D73DP85 |  | 8½ | 2D72PN85 |  | 8½ | 2D72A6I |
| 9 | 2D73DP90 |  | 9 | 2D72PN90 |  | 9 | 2D72A7I |
| 50 pairs/box, 4 boxes/case |  | 40 pairs/box, 5 boxes/case |  | 40 pairs/box, 5 boxes/case |

Women and Children’s Services – announcement of new agreements for neonatal developmental and specialty products. This category includes specialty disposables or equipment required for treatment in the neonatal and pediatric care environments, as well as developmental products for neonatal growth and nurturing.

Effective November 1, 2011 through October 31, 2014

| Supplier | New contract number | Expiring contract number |
| --- | --- | --- |
| Anatomy Supply* | PP-WC-081 | New |
| Children’s Medical Ventures | PP-WC-076 | PP-WC-019 |
| Tyco | PP-WC-077 | PP-WC-021 |
| Kentec** | PP-WC-082 | New |
| Natus Medical | PP-WC-078 | PP-WC-020 |
| NeoMed* | PP-WC-080 | New |
| Sundance* | PP-WC-079 | New |

Surgical Services RECALL - Alliant Healthcare Products (PP-OR-733) announced that it is initiating a recall on specific lots of the TruChoice brand of products – model numbers 213-030 and 213-035. These are available through Premier agreement PP-OR-733. Alliant Healthcare has received field complaints of two product malfunctions. In both occurrences, the device came apart at the glue joint that holds the two halves of the product together. The malfunctions were detected during routine setup of the product, did not involve any patients and no delays in surgeries were reported. Participating members who are impacted as a result of this recall have been contacted.

# Suggested action steps:

- Stop using the affected lots of TruChoice products and complete the recall return response form.

- If this recall impacts a critical surgery already planned, please contact Rebecca Hudson at 269.629.0300, ext. 226.

Cardiology – announcement of new agreements for hemostatis and compression products.  These products are used to promote hemostasis (clotting of the blood). Hemostatic pads with coagulant components such as collagen, thrombin or chitosan help to speed up the clotting process. These pads, as well as compression devices are included as part of this product category.

Effective November 1, 2011 through October 31, 2014

| Supplier | New Contract | Expiring Contract |
| --- | --- | --- |
| Cardinal¹ | PP-CA-187 | PP-CA-156 (HemCon) |
| TZ Medical² | PP-CA-188 | PP-CA-132 |
| Z-Medica³ | PP-CA-189 | New |

Surgical Services – announcement that ConMed has added their Beamer System to the Surgical Energy Products contract, PP-OR-665. This system with Argon is designed specifically for GI and pulmonary use.

Laboratory – announcement that new agreements for molecular analyzers, reagents, consumables and service have been awarded to incumbents Roche Diagnostics Corporation and Siemens as well as new supplier in this category bioMerieux.

Effective October 1, 2011 through September 30, 2014.

| Supplier | New contract | Expiring contract |
| --- | --- | --- |
| bioMerieux | PP-LA-296 | NEW |
| Roche | PP-LA-297 | PP-LA-231 |
| Siemens | PP-LA-298 | PP-LA-232 |

Laboratory – announcement of new agreements for blood gas analyzers to incumbents.

Current agreements with Abbott (PP-LA-236), Instrumentation Laboratory (PP-LA-234) and Siemens (PP-LA-235) expire September 30, 2011.

Point of care blood gas products was formerly included in this product category; however, a new product category has been created, Point of Care (POC) Blood Gas and Additional Tests. A 21-month agreement, effective July 1, 2011, has been awarded to new Premier supplier, Alere North America Inc. (PP-LA-299).

| Supplier | New Contract Number | Expiring Contract Number |
| --- | --- | --- |
| Instrumentation Laboratory | PP-LA-300 | PP-LA-234 |
| Siemens | PP-LA-301 | PP-LA-235 |

BAXTER COLLEAGUE WITHDRAWAL

As previously communicated, the FDA Final Order for the Baxter Colleague Withdrawal was on July 13, 2010. That order stated, “Baxter shall continue to provide services, including the servicing of Colleague pumps sent to the Baxter for maintenance, that are identified in a completed CN, for the purpose of maintaining  and/or restoring the Colleague infusion pumps now in use to currently labeled operating parameters until the date that is twenty four months  after the date of this final order, or until the customer is able to transition to an FDA approved or cleared alternative to the Colleague pump, whichever comes first.”  We now find ourselves with that date less than one year away.

Based on Premier’s analysis, only 26% of their national members have completed or are in the process of completing the conversion to an alternative device. GNYHA Services and Premier have growing concerns that the demand WILL NOT be able to be met if members continue to wait.  Premier suppliers are working diligently with the 15% of members who are in the selection process or who have NOT committed to an implementation date.

There appears to be a large number of our members have not initiated the conversion process.  Please work with your Client Services Executive to move this forward.

Nursing Recall – Sigma International (PP-IV-013) is expanding their voluntary recall on specific serial numbers of the Spectrum Infusion Pump Model 35700.  Sigma is now expanding the recall to include pumps with the serial numbers 700000 through 794213 which were manufactured between January 18, 2005, and November 1, 2010.

The voluntary recall will address a potential bearing issue that can cause inaccurate delivery of fluid, including free flow. Please note that all pumps serviced after September 21, 2010, or remediated as part of the first recall notification, are not affected by this expanded recall.

# Suggested action steps:

- Confirm if affected lot numbers are in your inventory.

- Immediately remove affected pumps from neonatal use until B. Braun BC 1000 backcheck valves are employed.

- Submit Customer Response Form to Sigma.

Nursing – announcement of new agreement for Chlorhexidine Gluconate (CHG) Skin Prep Products have been awarded to incumbents. This category includes interventional and presurgical antiseptic products and solutions designed to reduce blood stream infections. These solutions include a minimum 2 percent chlorohexidine gluconate (CHG) and 70 percent isopropyl alcohol (ISA) chemical antiseptic.

This category does not include synthetic biopolymer composite CHG impregnated dressing products or CHG wipes in pre-packaged kits.

Effective October 1, 2011 through July 31, 2014

| Supplier | New contract | Expiring contract |
| --- | --- | --- |
| CareFusion 213 LLC | PP-NS-688 | PP-NS-518 |
| Professional Disposables International Inc. (PDI) | PP-NS-689 | PP-NS-519 |

Nursing – announcement of new agreements for Central Venous Access Products. This category includes peripherally inserted central catheters (PICCs), midlines, central venous access catheters (CVCs), antimicrobial-coated catheters, central venous access kits, and maximum barrier kits including catheters.

Implantable ports are not included in this category but are sourced by the Surgical Services Committee in the Implantable Infusion Ports category. Implantable ports can be found in contracts PP-OR-698, PP-OR-699, PP-OR-700, PP-OR-701, and PP-OR-728.

Effective October 1, 2011 through June 30, 2014

| Supplier | New contract | Expiring contract |
| --- | --- | --- |
| Bard | PP-NS-684 | PP-NS-525 |
| Edwards | PP-NS-686 | PP-NS-526 |
| Navilyst | PP-NS-687 | New |
| Teleflex / Arrow | PP-NS-685 | PP-NS-527 |

Materials Management – announcement that new agreements for Ventilators have been awarded to incumbents. This category includes intensive care, high frequency oscillatory, transport/portable, and mass casualty ventilators and associated accessories and proprietary circuits.

Effective July 1, 2011 through June 30, 2014

| Supplier | New Contract | Expiring Contract(s) |
| --- | --- | --- |
| CareFusion | PP-MM-139 | PP-NS-395, PP-MM-040 |
| Covidien | PP-MM-140 | PP-MM-045 |
| Draeger | PP-MM-141 | PP-MM-041 |
| Maquet | PP-MM-142 | New |
| Newport (SBE) | PP-MM-143 | PP-NS-394 |

Laboratory – announcement that new agreements for Molecular Analyzers, Reagents, Consumables and Services have been awarded to current incumbents.

Effective October 1, 2011 through September 30, 2014.

| Supplier | New contract | Expiring contract |
| --- | --- | --- |
| bioMerieux | PP-LA-296 | NEW |
| Roche | PP-LA-297 | PP-LA-231 |

Laboratory – announcement of a new agreement for Point of Care (POC) Blood Gas and Additional Test. See Supply Chain Advisor for details.

Point of care blood gas analyzers were previously part of the Blood Gas Analyzers, Reagents, Consumables and Service product category; however, new product category, Point of Care Blood Gas and Additional Tests, has been created. The newly awarded agreement with Alere (PP-LA-299) will be part of this new category.

Effective July 1, 2011 through March 31, 2013

| Supplier | New contract number | Expiring contract number |
| --- | --- | --- |
| Alere | PP-LA-299 | New |

Laboratory – announcement of new agreements for Manual Microbiology. These products include:

- Media

- Susceptibility diffusion disks

- Quality control organisms

- Stains

- Solutions

- Serological kits

Effective October 1, 2011 through September 30, 2014

| Supplier | New contract number | Expiring contract number |
| --- | --- | --- |
| bioMérieux | PP-LA-293 | New |
| Remel | PP-LA-294 | New |

Cardiology - Johnson & Johnson announced last week that it would stop manufacturing drug-coated heart stents by the end of the year. Johnson & Johnson subsidiary Cordis will stop manufacturing its Cypher stent and stop researching a new one called the Nevo stent by December 2011.

As an alternative, Premier’s drug eluting coronary stents (DES) portfolio offers substantial savings opportunities featuring member-validated compelling pricing and value-added programs in this highly competitive market.

The DES agreements include the following highlights:

- Participating Member Designation Forms (PMDFs)/price activations are required for tiers 2 and higher.

- National contracted suppliers:

  - Abbott Vascular (PP-CA-165) is a low-cost supplier at access tier and top tier.

  - Boston Scientific (PP-CA-166) is a low-cost supplier at top tier.

  - Medtronic (PP-CA-167) is a low-cost supplier at access tier and with inclusion of value-adds.

- ASCEND suppliers:

  - Abbott Vascular (AS-CA-165) is a low-cost supplier at access tier and top tier.

  - Boston Scientific (AS-CA-166) is a low-cost supplier at top tier.

Nursing - announcement of a new agreement for Catheter Tube Securement and Stabilization Products with incumbent C. R. Bard Inc., PP-NS-683, effective September 1, 2011 through August 31, 2014. This agreement includes the StatLock® Select kits. The Select kits are only offered through direct order from Bard.

This category includes suture-less securement and stabilization products that enable healthcare workers to deliver fluids, medications or to drain bodily fluids. These products are considered securement devices as opposed to dressings. Examples of products associated with this category are products which secure or stabilize the following:

- Vascular access devices

- Chest drainage tubes

- PEGs

- Umbilical tubes

- Pulmonary artery catheters

- PICCs, midlines, CVCs

- Jejunostomy tubes

- Hemodialysis catheters

Material Management – announcement of new agreements for Chart Paper and Related Products.  This category includes medical chart paper for cardiology (ECG), monitoring (fetal and physiological), defibrillator, neurology, pharmacy, lab and video imaging.  Accessories include pens, optical disks and mounts.

Agreements effective September 1, 2011 through August 31, 2014

| Suppliers | New Contract | Expiring Contract |
| --- | --- | --- |
| Covidien | PP-MM-147 | PP-MM-055 |
| Graphic Controls Acquisition Corp. (SBE) | PP-MM-148 | New |